MDM2 – Case Study: Assistive Robotics for

Improvement of Life Quality

One-Page Proposal

| Team | 5 |
| --- | --- |
| Members | Vishnu Thaimachedath Nandakumar, Jeethu Thambi & Thadepalli Nikitha |
| Project Title | Wearable Wrist Rehabilitation Using Dual-Channel Functional Electrical Stimulation (FES) |
| GitHub Repository URL | https://github.com/vishnutnGithub/assistive-robotics-life-quality.git |
| Contact Email | jeethu.thambi@stud.th-deg.de vishnu.thaimachedath-nandakumar@stud.th-deg.de |
| Industrial Application (target domain/use-case) | Healthcare / Assistive Robotics / Home Rehabilitation |
| Keywords (3–6) | Functional Electrical Stimulation (FES), wrist rehabilitation, wearable robotics, sensor fusion, assistive technology |
| Submission Date (YYYY-MM-DD) | 2026-04-10 |
| Gantt Chart |  |

| 1) Problem Statement & Measurable Outcomes (3–4 sentences) | Stroke and other neurological or musculoskeletal conditions frequently impair hand and upper-limb function, including wrist rotation (pronation/supination), limiting daily activities. Traditional rehabilitation requires frequent clinic visits and typically assists rotation using heavy mechanical actuators. This project proposes a wearable system that uses dual-channel Functional Electrical Stimulation (FES) to assist both grip and wrist rotation without any mechanical actuator. Measurable outcomes (KPIs): - Reliable FES-triggered grip closure on FSR threshold detection - FES-assisted wrist rotation up to a 60° target angle - Total system mass kept under 150 g - Control logic validated via MATLAB simulation and structured self-wear testing |
| --- | --- |
| 2) Motivation & Assistive Relevance (2–3 sentences) | Patients recovering from stroke or spinal cord injury often retain partial voluntary grip but struggle specifically with forearm rotation — an area comparatively underexplored in lightweight wearable rehabilitation. A low-cost, motor-free FES-based device makes combined grip-and-rotation therapy feasible for home use, where mechanical exoskeletons remain impractical due to weight and cost. This is increasingly important as demand for home-based rehabilitation continues to grow. |
| 3) Method & Feasibility (≤6 sentences) | Four actuation approaches — electric motor, pneumatic, series elastic actuator, and hydraulic — were compared against Functional Electrical Stimulation across weight, cost, and mechanical complexity, with FES selected for eliminating the need for any mechanical actuator. System behaviour (grip-then-rotate sequencing) was first validated through MATLAB simulation of a threshold-triggered finite-state machine before hardware implementation. The validated logic was then ported to ESP32 firmware, integrating FSR grip sensors, an IMU rotation sensor, and a dual-channel FES stimulator. In place of clinical trials, validation is performed through structured self-wear testing by the project team across defined movement scenarios (grip only, rotation only, combined sequence, multiple rotation targets, repeated trials). |
| 4) Milestones & Timeline (short table/list) | Phase ¦ Task ¦ Target P1 — Proposal — April 10 P2 — Literature map, baseline sim & bibliography report — April 24 P3 — Methodology — May 15 P4 — Demo, experiments & analysis — June 12 P5 — Final presentation & report — July 3 |
| 5) Risks & Ethics (1–2 sentences) | Electrical stimulation delivered through skin electrodes requires medical-grade, electrically isolated circuitry to ensure user safety, and all self-testing was conducted with an immediate stop capability. Design claims avoid overstating clinical efficacy at this prototype stage, and all technical and academic sources are properly cited. |

BILL OF MATERIALS

PROJECT NAME: WEARABLE WRIST REHABILITATION USING DUAL-CHANNEL FES

| ITEMS | DESCRIPTION | QTY | COST (approx.) |
| --- | --- | --- | --- |
| ESP32 Microcontroller | Central controller | 1 | € 8.00 |
| FSR Sensor | FSR 402, fingertip grip sensing | 5 | € 30.00 |
| IMU Sensor | MPU-6050 / BNO055, rotation tracking | 1 | € 10.00 |
| Motor Driver | ULN2803A Darlington array | 1 | € 2.00 |
| Vibration Motor | Haptic feedback, back of fingers | 5 | € 10.00 |
| RGB LED | Visual feedback | 1 | € 1.00 |
| FES Stimulator Module | Dual-channel, medical-grade, isolated | 1 | € 120.00 |
| FES Electrode Pads | Channel 1 (grip) + Channel 2 (rotation) | 4 | € 15.00 |
| Battery | Li-ion, rechargeable | 1 | € 12.00 |
| USB-C Charging Module | Battery charging circuit | 1 | € 5.00 |
| Glove Base | Nylon-spandex tactical/athletic glove | 1 | € 15.00 |
| Silicone Reinforcement Patches | Fingertip sensor mounting | 5 | € 5.00 |
| Forearm Band | Fabric/elastic with Velcro closure | 1 | € 8.00 |
| TOTAL |  |  | € 241.00 |

Costs are approximate component-level estimates based on typical retailer pricing, not confirmed purchase receipts.